LOG TEMPLATE

# Dental instrument sterilization log

Check this template against your local regulations and your own policies before you use it.

| Business |  | Location |  | Date |  |
| --- | --- | --- | --- | --- | --- |

- Record every cycle, including daily test cycles and biological (spore) tests, as your infection control guidelines and the sterilizer’s maker require.

- Answer Y or N for each check. Check the printout or display shows the cycle reached its time, temperature and pressure, and file the printout or data with this log.

- Check the chemical indicator on or in each pack has changed before the load is released, and write the cycle number on each pack.

- If a cycle or test fails, don’t use the load. Reprocess it, record the failure, and follow your failure procedure before using the sterilizer again.

| Date | Cycle no. | Sterilizer | Load contents | Parameters met? | Indicator passed? | Test result | Released by |
| --- | --- | --- | --- | --- | --- | --- | --- |