CHECKLIST TEMPLATE

# Dental surgery turnover checklist

Check this template against your local regulations and your own policies before you use it.

| Business |  | Location |  | Date |  |
| --- | --- | --- | --- | --- | --- |

# Between patients

After each patient

| Done | Task | Time | Initials |
| --- | --- | --- | --- |
| Clear |  |  |  |
| ☐ | Dispose of sharps into the sharps container at the chair |  |  |
| ☐ | Take used instruments to reprocessing in a closed container |  |  |
| ☐ | Remove barriers and dispose of single-use items |  |  |
| Clean |  |  |  |
| ☐ | Clean and disinfect every surface touched in the zone Chair controls, light handles, the tray, the bracket table and the suction holders. |  |  |
| ☐ | Flush handpiece and air-water lines for 20 to 30 seconds |  |  |
| ☐ | Run water through the suction lines |  |  |
| Set up |  |  |  |
| ☐ | Put on fresh barriers |  |  |
| ☐ | Set out sterile instruments for the next appointment, checking the pouch indicators |  |  |
| ☐ | Wash hands and put on fresh gloves |  |  |

| Completed by |  | Checked by (manager) |  | Date |  |
| --- | --- | --- | --- | --- | --- |
| Notes |  |  |  |  |  |