LOG TEMPLATE
Dental waterline testing log
Check this template against your local regulations and your own policies before you use it.
	Business
	
	Location
	
	Date
	



1. Record each chair’s morning flush and line treatment every day.
1. Test the water from each chair as often as your guidelines and the maker say, and write the result.
1. If a test fails, take the chair’s water out of use for treatment, shock-treat the lines as the maker says and retest before using it.

	Date
	Chair
	Flushed
	Treatment
	Test result
	Pass / fail
	Action
	Initials
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