CHECKLIST TEMPLATE

# Physiotherapy clinic equipment checklist

Check this template against your local regulations and your own policies before you use it.

| Business |  | Location |  | Date |  |
| --- | --- | --- | --- | --- | --- |

# Monthly check

In the first week of each month

| Done | Task | Time | Initials |
| --- | --- | --- | --- |
| Treatment rooms |  |  |  |
| ☐ | Check each table raises, lowers and locks, and its cover isn’t split |  |  |
| ☐ | Check electrotherapy and ultrasound units power on and leads are intact |  |  |
| ☐ | Check service and calibration dates are current Tag out anything overdue and book the service. |  |  |
| Gym and rehab |  |  |  |
| ☐ | Check weights, bands and balls for cracks and wear |  |  |
| ☐ | Check exercise bikes, treadmills and their emergency stops |  |  |
| ☐ | Check balance and plyo equipment is stable and grips |  |  |
| Safety |  |  |  |
| ☐ | Check electrical leads and test tags are in date |  |  |
| ☐ | Check the first aid kit is stocked and in date |  |  |
| ☐ | Check the AED status light and pads expiry |  |  |

| Completed by |  | Checked by (manager) |  | Date |  |
| --- | --- | --- | --- | --- | --- |
| Notes |  |  |  |  |  |