SOP TEMPLATE

# Working at heights procedure

Check this template against your local regulations and your own policies before you use it.

| SOP no. |  | Version |  | Effective date |  |
| --- | --- | --- | --- | --- | --- |
| Owner |  | Approver |  | Review date |  |

# Purpose

To prevent falls and falling objects when work is done at height.

# Scope

Any work where a person could fall from one level to another, including ladders, roofs, ceilings and scaffolds.

# Responsibilities

| Role | Responsibility |
| --- | --- |
| Tradesperson | Plans the access, checks equipment and works as this procedure says. |
| Supervisor or business owner | Provides equipment and training, and checks the work is planned. |

# What you need

- Ladders, scaffolds and elevated work platforms

- Edge protection, harnesses and anchor points

# Procedure

- Avoid height if you can

Do the work from the ground or prefabricate it where possible.

- Choose the safest access

Prefer a scaffold or platform with guardrails over a ladder, and a ladder only for short, light work.

- Set up ladders correctly

Use the right ladder, on firm ground, secured, at the right angle, with three points of contact.

- Protect roof edges

Use edge protection, or a harness tied to a rated anchor, and watch for fragile roofing and skylights.

Caution: Never walk on fragile roofing or skylights.

- Keep people clear below

Barricade the area below and secure tools and materials.

- Plan the rescue

Before using a harness, know how you would rescue someone who falls and is suspended.

# Records

- The job’s risk assessment or work method statement.

- Equipment inspection and training records.

# Related documents

- Daily pre-start safety checklist

# Revision history

| Version | Date | What changed | Approved by |
| --- | --- | --- | --- |