CHECKLIST TEMPLATE

# Vet clinic opening and closing checklist

Check this template against your local regulations and your own policies before you use it.

| Business |  | Location |  | Date |  |
| --- | --- | --- | --- | --- | --- |

# Opening checklist

Before the first consult

| Done | Task | Time | Initials |
| --- | --- | --- | --- |
| In-patients |  |  |  |
| ☐ | Read the overnight notes, or the handover from the after-hours clinic |  |  |
| ☐ | Check every in-patient and record its observations |  |  |
| ☐ | Give due medications, fluids and feeds, as the treatment sheets say |  |  |
| ☐ | Clean kennels and cages, and walk the dogs |  |  |
| Equipment and theatre |  |  |  |
| ☐ | Check the anesthetic machine and run its leak test before the first anesthetic Including the oxygen supply, the breathing systems and the scavenging. |  |  |
| ☐ | Check the crash cart and emergency drugs are complete and in date |  |  |
| ☐ | Turn on the sterilizer and run any daily test the maker requires |  |  |
| ☐ | Run the daily quality control on the in-house lab analyzers |  |  |
| Fridges and drugs |  |  |  |
| ☐ | Check the vaccine and medicines fridges are in range, and record the temperatures |  |  |
| ☐ | Check the controlled drugs safe is locked and the register is up to date |  |  |
| Consult rooms |  |  |  |
| ☐ | Check each table is clean and the scales are zeroed |  |  |
| ☐ | Check gloves, syringes, needles and swabs are stocked |  |  |
| ☐ | Check the sharps containers are below their fill line |  |  |
| Reception |  |  |  |
| ☐ | Take the phones off the after-hours service and check messages and lab results |  |  |
| ☐ | Check today’s consults, surgeries and admissions |  |  |
| ☐ | Get consent forms and estimates ready for today’s surgeries |  |  |
| ☐ | Check the waiting area is clean, with separate space for dogs and cats where possible |  |  |

| Completed by |  | Checked by (manager) |  | Date |  |
| --- | --- | --- | --- | --- | --- |
| Notes |  |  |  |  |  |

# Closing checklist

After the last consult

| Done | Task | Time | Initials |
| --- | --- | --- | --- |
| In-patients and overnight care |  |  |  |
| ☐ | Update every treatment sheet and the plan for the night |  |  |
| ☐ | Hand over to overnight staff, or transfer patients to the after-hours clinic |  |  |
| ☐ | Check each in-patient has water, clean bedding and its ID on the cage |  |  |
| Theatre and consult rooms |  |  |  |
| ☐ | Clean and disinfect the theatre, prep area and consult tables |  |  |
| ☐ | Clean and pack instruments, and record each sterilizer cycle |  |  |
| ☐ | Turn off the anesthetic machine and close the oxygen cylinders |  |  |
| ☐ | Restock each room for tomorrow |  |  |
| Drugs and fridges |  |  |  |
| ☐ | Record every controlled drug used today, and lock the safe |  |  |
| ☐ | Check the fridge doors are closed and the temperatures are in range |  |  |
| Reception |  |  |  |
| ☐ | Reconcile the day’s payments with the practice software |  |  |
| ☐ | Check tomorrow’s surgeries and that fasting instructions were sent |  |  |
| ☐ | Put the phones through to the after-hours service |  |  |
| Lock-up |  |  |  |
| ☐ | Start the laundry and store clinical waste for collection |  |  |
| ☐ | Turn off the lights, lock all doors and set the alarm |  |  |

| Completed by |  | Checked by (manager) |  | Date |  |
| --- | --- | --- | --- | --- | --- |
| Notes |  |  |  |  |  |