SOP TEMPLATE

# Veterinary radiation safety procedure

Check this template against your local regulations and your own policies before you use it.

| SOP no. |  | Version |  | Effective date |  |
| --- | --- | --- | --- | --- | --- |
| Owner |  | Approver |  | Review date |  |

# Purpose

To keep radiation doses to staff as low as possible.

# Scope

Every X-ray exposure at the clinic, by every staff member.

# Responsibilities

| Role | Responsibility |
| --- | --- |
| Vet or licensed operator | Operates the machine as their licence allows and logs each exposure. |
| Radiation safety officer | Manages licences, dosimeters, equipment checks and training. |

# What you need

- Lead aprons, thyroid shields and gloves

- Personal dosimeters

- Positioning aids and sandbags

# Procedure

- Only licensed staff operate

Only staff licensed or authorised under your local rules may take X-rays.

- Restrain without hands

Use sedation and positioning aids so no one needs to hold the patient.

Caution: If someone must hold a patient, they wear full protection and keep their hands out of the beam.

- Wear protection and dosimeters

Everyone in the room wears a lead apron and thyroid shield, and their dosimeter under the apron.

- Control the room

Close the door, turn on the warning light and keep everyone else out.

- Log every exposure

Record the patient, the views and the settings in the X-ray log.

- Check the equipment

Check aprons for cracks each year, and have the machine tested as your licence requires.

# Records

- The X-ray log.

- Dosimeter reports, licences and equipment test reports.

# Related documents

- Vet nurse induction checklist

# Revision history

| Version | Date | What changed | Approved by |
| --- | --- | --- | --- |